This form is a reminder only, of general areas and items to be inspected, all “needs attention” items should be investigated and corrected. Check each item either “acceptable” or “needs attention.” If “needs attention” state location(s) i.e. room 104, gym, front hall.

| CONDITION | LOCATION(S) |  |
| --- | --- | --- |
| ACCEPTABLE | NEEDS ATTENTION |  |  |
|  |  |  | GROUNDS |
|  |  |  | STEPS IN GOOD CONSITION |
|  |  |  | WALKWAYS IN GOOD CONDITION |
|  |  |  | PARKING AREAS INGOOD CONDITION |
|  |  |  | HANDRAILS ON ALL STEPS AND RANPS |
|  |  |  | SECURITY LIGHTS |
|  |  |  | OUTSIDE ATHLETIC EQUIPMENT |
|  |  |  | DEBRIS ON GROUNDS |
|  |  |  | SEATS/BLEACHERS IN GOOD CONDITION |
|  |  |  | GENERAL AREAS |
|  |  |  | FLOORS IN GOOD CONDITION |
|  |  |  | FLOORS DRY |
|  |  |  | FLOORS NOT SLIPPERY |
|  |  |  | FLOOR OPENINGS PROPERLY COVERED |
|  |  |  | INTAKE VENTS CLEAN |
|  |  |  | EXHAUST VENTS CLEAN |
|  |  |  | SIGNS OF BASEMENT WATER SEEPAGE |
|  |  |  | SIGNS OF ROOF LEAKAGE |
|  |  |  | CEILING MATERIAL SECURE |
|  |  |  | WATER PIPING SYSTEM |
|  |  |  | WASTE PIPING SYSTEM |
|  |  |  | STEAM PIPING SYSTEM |
|  |  |  | AIR PIPING SYSTEM |
|  |  |  | LOADING DOCK |
|  |  |  | STORAGE ROOM(S) |
|  |  |  | WASTE DISPOSAL AREA(S) |
|  |  |  | BROKEN GLASS |
|  |  |  | LIGHTING ADEQUATE IN ALL AREAS |
|  |  |  | HANDRAILS SECURE |
|  |  |  | STAIR TREAD SECURE |
|  |  |  | MEANS OF EGRESS |
|  |  |  | EXITS CLEARLY MARKED |
|  |  |  | EXIT WAYS FREE OF OBSTRUCTIONS |
|  |  |  | STAIRWAY DOORS KEP CLOSED |
|  |  |  | FIRE DOORS KEP CLOSED |
|  |  |  | DOORS OPERATE FREELY |
|  |  |  | EVACUATION PLAN POSTED |
|  |  |  | EMERGENCY PROCEDURES |
|  |  |  | WRITTEN PROCEDURES |
|  |  |  | EMERGENCY CALL LIST POSTED |
|  |  |  | PERSONNEL TRAINED FOR EMERGENCIES |
|  |  |  | FIRST AID FACILITIES |
|  |  |  | FIRST AID PERSONNEL |

This form is a reminder only, of general areas and items to be inspected. Check each item either “acceptable” or “needs attention.” All “needs attention” items should be investigated and corrected.

| CONDITION | LOCATION(S) |  |
| --- | --- | --- |
| ACCEPTABLE | NEEDS ATTENTION |  |  |
|  |  |  | PERIMETER |
|  |  |  | Authorized vehicle traffic only |
|  |  |  | Perimeter gates operable |
|  |  |  | Dumpsters are located away from buildings |
|  |  |  | Access to roof is limited |
|  |  |  | Directional signs on curbs and streets |
|  |  |  | Landscaping arranged to prevent blind spots |
|  |  |  | Walkways are not obstructed |
|  |  |  | Exterior lighting in operation |
|  |  |  | Perimeter fencing condition |
|  |  |  | BUILDINGS |
|  |  |  | Designed entrance for visitors is clearly marked |
|  |  |  | Doors to high risk areas are locked |
|  |  |  | Door hinges have non‐removable pins |
|  |  |  | Doorframes made of pry‐proof metal |
|  |  |  | Doors have security glass |
|  |  |  | Windows have latches |
|  |  |  | Misc. opening secured (roof, coal chute, craw space) |
|  |  |  | Fire alarm and smoke detectors operational |
|  |  |  | Security system operational |
|  |  |  | TRAFFIC CONTROL |
|  |  |  | Parking lot through cruising traffic |
|  |  |  | Speed bumps |
|  |  |  | Access to student vehicles is limited |
|  |  |  | Parking areas are clearly identified |
|  |  |  | Parking lots located in direct visual observation |
|  |  |  | School vehicles are parked within school perimeter |
|  |  |  | Vehicle entry to playground or activity areas are blocked |
|  |  |  | LIGHTING |
|  |  |  | Exterior lights have break resistant lenses or mesh covers |
|  |  |  | Access points are well illuminated |
|  |  |  | Loading and unloading zones are well illuminated |
|  |  |  | Lights are mounted in a way to reduce shadow areas |
|  |  |  | Lights provide illumination without glare |
|  |  |  | Lights inspected and replaced regularly |
|  |  |  | SECURITY MEASURES |
|  |  |  | Key security system |
|  |  |  | Property identification and inventory program |
|  |  |  | Locks and/or latches in good condition |
|  |  |  | Anchor pads or locking devices on portable equipment |
|  |  |  | Alarm system (operable and in good repair) |
|  |  |  | School security officers services |
|  |  |  | Incident reporting procedure |
|  |  |  | After hours law enforcement checks |